## 05 03 11 Model
OFFICE BUILDINGS
DIRECT COST STUDY
[7 empty] | Updated | 2011-05-03
CURRENT TCCO COST INDEX | 1089 | [5 empty] | By
High Rise
Symphony Tower
JOB NAME | Three Alliance |  |  | 1180 Peachtree (S & C + Deck) |  | GSU "M' Deck
LOCATION | Atlanta, GA |  |  | Atlanta, GA
TCCO INDEX |  |  | 896 |  |  | 631
INDEX YEAR |  |  | 2nd Quarter/2014 |  |  | 1st quarter/2004
DURATION (SCHED) MONTHS
GROSS SQUARE FOOT |  |  | 995000 |  |  | 1340000
GSF TOWER |  |  | 539000 |  |  | 742000
GSF PARKING DECK |  |  | 456000 |  |  | 598000
LEASEABLE SQUARE FOOTAGE | [5 empty] | 707212
RENOVATION AREA | [5 empty] | N/A
NO. OF STORIES | [5 empty] | 41
NO. OF CARS |  |  | 1154 |  |  | 1200
FOUNDATIONS |  |  | Drilled Piers |  |  | Drilled Piers
FRAME TYPE |  |  | CIP Concrete - Post Tension |  |  | CIP Concrete - Post Tension
PARKING DECK (LOCATION) |  |  | Under Bldg. Footprint/ Partial Underground |  |  | Under Bldg. Footprint/ Partial Underground
SKIN TYPE |  |  | 100% Curtainwall Glazing |  |  | 100% Curtainwall Glazing
GLAZING TYPE |  |  | Curtainwall |  |  | Curtainwall
TYPICAL FLOOR TO FLOOR HT. | [5 empty] | 14'-0"
INFORMATION SOURCE |  |  | GMP |  |  | Mar. 19, 2004 E & A (GMP)
|  |  |  | Escalated | Escalated
COST SUMMARY |  |  |  | Cost | Cost/GSF | Original Cost
% of escalation (Change to present day) | 21.54% |  |  | 72.58%
SITEWORK | 4245668.2567 | 4.267 | 3493222 | 7872843.523 | 5.8753 | 4561767
EXCAVATION/FOUNDATIONS | 9395207.7288 | 9.4424 | 7730125 | 5849371.0697 | 4.3652 | 3389305
STRUCTURAL FRAME | 34010933.3438 | 34.1818 | 27983284 | 38652784.7876 | 28.8454 | 22396609
ROOFING / WATERPROOFING / SEALANTS | 1337153.4442 | 1.3439 | 1100174 | 1301163.4326 | 0.97102 | 753934
EXTERIOR WALL | 23303758.942 | 23.4209 | 19173708 | 31959557.8003 | 23.8504 | 18518348
INTERIOR FINISHES | 8853105.7165 | 8.8976 | 7284098 | 18912010.6355 | 14.1134 | 10958199
SPECIAL EQUIPMENT / REQUIREMENTS | 581551.5234 | 0.58447 | 478485 | 3246360.775 | 2.4227 | 1881041
VERTICAL TRANSPORTATION | 5477693.0926 | 5.5052 | 4506899 | 11053954.0412 | 8.2492 | 6405000
PLUMBING | 3160044.6429 | 3.1759 | 2600000 | 3086282.9525 | 2.3032 | 1788287
FIRE PROTECTION | 1419140.8025 | 1.4263 | 1167631 | 1746426.3661 | 1.3033 | 1011933
H.V.A.C. | 6808104.7031 | 6.8423 | 5601526 | 14755768.7876 | 11.0118 | 8549945
ELECTRICAL | 6642803.9833 | 6.6762 | 5465521 | 11589714.4279 | 8.649 | 6715436
TOTAL DIRECT | 105235166.1797 | 105.764 | 86584673 | 150026238.599 | 111.9599 | 86929804
GENERAL REQUIREMENTS |  |  | 800000
BOND, INS. & PERMITS | 0 | 0 | 0 | 2320829.8574 | 1.732 | 1344760
CONTINGENCY | 0 | 0 | 0 | 2250393.579 | 1.6794 | 1303947.06
GENERAL CONDITIONS | 6182521.6038 | 6.2136 | 5086813 | 9242865.9271 | 6.8977 | 5355600
TOTAL EXCLUDING FEE | 111417687.7835 | 111.9776 | 92471486 | 163840327.9625 | 122.2689 | 94934111.06
FEE | 3063625.6038 | 3.079 | 2520669 | 3348114.1046 | 2.4986 | 1940000
TOTAL INCLUDING FEE | 114481313.3873 | 115.0566 | 94992155 | 167188442.0671 | 124.7675 | 96874111.06
Bond, Insurance (% of Total) | [5 empty] | 1.388%
Contingency (% of Directs) | [5 empty] | 1.5%
GCs (% of Total) | [5 empty] | 5.528%
Fee (% of Total) | [5 empty] | 2.003%
COSTS W/O SITEWORK | Escalated
SITEWORK COSTS (/TOWER GSF) |  |  |  | 8.7513
TOWER (/TOWER GSF) | 134 |  |  | 121.1507
PARKING DECK (/PARKING GSF) | 59.5 |  |  | 45.7419
CONTINGENCY (/TOWER GSF)
LEASABLE |  |  |  | 121.1507
EFFIENCIES
DECK EFFICIENCY SF/CAR |  |  |  | 498.3333
TOWER EFFICIENCY (LEASABLE SF) |  |  |  | 95.31%
EXTERIOR SKIN EFF (Enclosure Area/GSF) |  |  |  | 53% |  | 47.0893
Note on H16: 30,000 sf of elevated plaza 50,000 sf Glazed building crown ($2.5 mil glass + steel truss framing)
Note on K16: 43,000 sf Glazed Crown
Note on N16: From IOR #5 dated 01/17/97
Note on N17: From IOR #5 dated 01/17/97
Note on L24: From IOR #5 dated 01/17/97
Note on H36: 12,000 sf of shoring
Note on N37: Caisons = $ 1.65 /sf Caps & GBs = $ 2.50 /sf SOG $4/sf x 26ksf/317ksf = $ 0.35 /sf Bmt Walls 500lf x15'x$25/317ksf = $ 0.60 /sf ------------------------------- Total = $ 5.10 /sf
Note on B73: "Ideal" is 325 sf/car to 350 sf/car
Note on B74: The higher this % is, the better - "Ideal" is 90% +
Note on B75: "Ideal" is anything better than 50%

## Updated 2018
| 560 Mission | Three Alliance Office Tower | Town Square | West End Summit
| San Francisco, CA | Atlanta, GA | Hartford, CT | TN - Nashville
| 776000 | 995000 | 1017000 | 1713000
Demolition | 0.040586 | 0 | 4.1663 | 0
Exc & Fdns: | 3.1648 | 9.5378 | 1.1972 | 3.9433
Structure: | 37.6342 | 34.5271 | 33.3306 | 37.7915
Roofing: | 2.2091 | 1.3574 | 0.88432 | 2.6583
Ext Wall: | 27.3269 | 23.6574 | 22.2445 | 18.094
Finishes: | 16.7271 | 8.9875 | 28.1165 | 14.7614
Specials: | 1.7089 | 0.59038 | 5.0959 | 1.7439
Vert Trans: | 8.059 | 5.5608 | 3.2771 | 7.6373
Plumbing: | 4.1767 | 3.208 | 16.4227 | 2.4077
Fire Prot: | 3.827 | 1.4407 | 3.1213 | 0
HVAC: | 12.1729 | 6.9114 | 9.4876 | 12.3963
Electrical: | 12.0658 | 6.7436 | 12.0132 | 10.298
Sitework: | 2.2225 | 4.3101 | 3.1907 | 1.8046
Const Cont: | 0 | 0 | 0 | 1.3291
Gen Conds: | 9.565 | 6.2764 | 8.9691 | 5.7856
Gen Reqs: | 0 | 0.98708 | 8.4737 | 5.3524
Fee: | 3.4678 | 3.1101 | 1.9483 | 1.9948
| 144.3683 | 117.2059 | 161.939 | 127.9983 |  | 560 Mission | West End Summit | 1180 Peachtree | 13th & Demonbreun | Three Alliance
[6 empty] | San Francisco, CA | Nashville, TN | Atlanta, GA | Nashville, TN | Atlanta, GA
MEFP Subtotal | [5 empty] | 776000 | 1713000 | 1340000 | 660079 | 995000
Excavation and Structure Subtotal
Direct Work Building Only Subtotal:
Sitework Subtotal: |  |  |  |  | Sitework & Demo | 2.2631 | 1.9108 | 5.8753 | 3.49 | 4.31
Direct Work Subtotal: |  |  |  |  | Excavation and Foundation | 3.1648 | 4.1754 | 4.3652 | 3.5 | 9.5378
CM Compensation Subtotal: |  |  |  |  | Structural Frame | 37.6342 | 40.0155 | 28.8454 | 34.78 | 34.5271
Total Construction Costs: |  |  |  |  | Roofing and Waterproofing | 2.2091 | 2.8148 | 0.97102 | 1.8 | 1.3574
[5 empty] | Exterior Wall | 27.3269 | 19.1588 | 25.3504 | 21 | 23.6574
[5 empty] | Interior Finishes | 16.7271 | 15.63 | 14.1134 | 12 | 8.9875
Escalated Construction Cost: |  |  |  |  | Equipment & Specialties | 1.7089 | 1.8465 | 2.4227 | 1.35 | 0.59038
Total Project Gross Square Footage: |  |  |  |  | Vertical Transportation | 8.059 | 8.0868 | 8.2492 | 7 | 5.5608
Construction Duration |  |  |  |  | Plumbing | 4.1767 | 2.5494 | 2.3032 | 2.5 | 3.208
[5 empty] | Fire Protection | 3.827 | 1.5 | 1.3033 | 1.98 | 1.4407
[5 empty] | HVAC | 12.1729 | 13.1258 | 11.0118 | 10 | 6.9114
#REF! |  |  |  |  | Electrical | 12.0658 | 10.904 | 8.649 | 9.5 | 6.7436
[5 empty] | GCs & Fee | 13.0328 | 7.7804 | 12.81 | 11.73 | 10.37
#REF!
#REF! | [5 empty] | 144.3683 | 129.4983 | 126.2699 | 120.63 | 117.2022
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
PROJECT COST DATA
0
0
0
0
0
0
Project Information
0
0
0
0
0
0
0
0
0
0
0
0
0
Project Type & Program
0
0

## Comp 2018
JOB NAME | Confidential Client Interior Office Reno | West End Summit | 1180 Peachtree | 13th & Demonbreun | Three Alliance | Average Cost/SF | 901 West Peachtree
LOCATION | Austin, TX | Nashville, TN | Atlanta, GA | Nashville, TN | Atlanta, GA |  | Atlanta, GA
GROSS SQUARE FOOT (GSF) | 776000 | 1713000 | 1340000 | 660079 | 995000 | 1096815.8 | 855568
COST SUMMARY | Adjusted | Adjusted | Adjusted | Adjusted | Adjusted | Adjusted | Schematic | Schematic
| Cost/GSF | Cost/GSF | Cost/GSF | Cost/GSF | Cost/GSF | Cost/GSF | Cost/GSF | Cost
Sitework & Demo | 2.2631 | 1.9108 | 5.8753 | 3.49 | 4.31 | 4 | 3.6046 | 3083971.9145 | 3.5 | 2.767% | 0.10459 | 3.6046
Excavation and Foundation | 3.1648 | 4.1754 | 4.3652 | 3.5 | 9.5378 | 5 | 4.5212 | 3868181.9156 | 4.39 | 3.471% | 0.13119 | 4.5212
Structural Frame | 37.6342 | 40.0155 | 31.1 | 34.78 | 34.5271 | 36 | 33.9346 | 29033392.7375 | 32.95 | 26.05% | 0.98464 | 33.9346
Roofing and Waterproofing | 2.2091 | 2.8148 | 0.97102 | 1.8 | 1.75 | 2 | 1.5448 | 1321702.2491 | 1.5 | 1.186% | 0.044824 | 1.5448
Exterior Wall | 27.3269 | 19.1588 | 25.3504 | 21 | 23.6574 | 23 | 33.1828 | 28390164.3096 | 32.22 | 25.47% | 0.96283 | 33.1828
Interior Finishes | 16.7271 | 15.63 | 14.1134 | 12 | 11.2 | 14 | 13.4297 | 11489998.2184 | 13.04 | 10.31% | 0.38967 | 13.4297
Equipment & Specialties | 1.7089 | 1.8465 | 2.4227 | 1.35 | 1.25 | 2 | 1.5139 | 1295268.2041 | 1.47 | 1.162% | 0.043928 | 1.5139
Vertical Transportation | 8.059 | 8.0868 | 8.2492 | 7 | 6.52 | 8 | 7.9919 | 6837606.3018 | 7.76 | 6.135% | 0.23189 | 7.9919
Plumbing | 4.1767 | 2.5494 | 2.3032 | 2.5 | 3.208 | 3 | 4.7787 | 4088465.6237 | 4.64 | 3.669% | 0.13866 | 4.7787
Fire Protection | 3.827 | 1.5 | 1.3033 | 1.98 | 1.4407 | 2 | 2.5026 | 2141157.6435 | 2.43 | 1.921% | 0.072615 | 2.5026
HVAC | 12.1729 | 13.1258 | 11.0118 | 10 | 9.75 | 11 | 9.9899 | 8547007.8772 | 9.7 | 7.669% | 0.28986 | 9.9899
Electrical | 12.0658 | 10.904 | 8.649 | 10.5 | 10.2 | 10 | 12.7749 | 10929788.3252 | 12.88 | 10.18% | 0.38489 | 13.2649
TOTAL DIRECT COSTS | 131.3355 | 121.7179 | 115.7145 | 109.9 | 117.351 | 119 | 129.7696 | 111026705.32 | 126.48
GENERAL REQUIREMENTS | [8 empty] | 3233693
BOND, INS. & LIC. | [8 empty] | 3.7796
CONTINGENCY
GENERAL CONDITIONS, FEE | 13.0328 | 7.7804 | 12.81 | 11.73 | 12 | 11 | 12.5 | 10694978 | 10698236
12.5042
CONSTRUCTION TOTAL | 144 | 129 | 129 | 122 | 129 | 131 | 142.2696 | 121721683.32

## Comp Fusion
JOB NAME | 560 Mission | West End Summit | 1180 Peachtree | 13th & Demonbreun | Three Alliance | 901 West Peachtree | Average Cost | Project Fusion
LOCATION | SF, CA | Nashville, TN | Atlanta, GA | Nashville, TN | Atlanta, GA | Atlanta, GA |  | Atlanta, GA
GROSS SQUARE FOOT (GSF) | 776000 | 1713000 | 1340000 | 660079 | 995000 | 855568 | 1056607.8333 | 1812695
COST SUMMARY | Adjusted | Adjusted | Adjusted | Adjusted | Adjusted |  | Adjusted | Schematic | Schematic
| Cost/GSF | Cost/GSF | Cost/GSF | Cost/GSF | Cost/GSF |  | Cost/GSF | Cost/GSF | Cost |  |  |  |  | Avg | Fusion
Sitework & Demo | 2.2631 | 1.9108 | 5.8753 | 3.49 | 4.31 | 3.6046 | 4 | 7.1585 | 12976177.1575 | 3.5 | 2.767% | 0.10459 | 3.6046 | 3.361% | 6.147%
Excavation and Foundation | 3.1648 | 4.1754 | 4.3652 | 3.5 | 9.5378 | 4.5212 | 5 | 5.9946 | 10837938.447 | 4.39 | 3.471% | 0.13119 | 4.5212 | 4.202% | 5.134%
Structural Frame | 37.6342 | 40.0155 | 31.1 | 34.78 | 34.5271 | 33.9346 | 35 | 33.166 | 60119842.37 | 32.95 | 26.05% | 0.98464 | 33.9346 | 29.41% | 28.48%
Roofing and Waterproofing | 2.2091 | 2.8148 | 0.97102 | 1.8 | 1.75 | 1.5448 | 2 | 2.369 | 4294274.455 | 1.5 | 1.186% | 0.044824 | 1.5448 | 1.681% | 2.034%
Exterior Wall | 27.3269 | 19.1588 | 25.3504 | 21 | 23.6574 | 33.1828 | 25 | 25.8221 | 46807591.5595 | 32.22 | 25.47% | 0.96283 | 33.1828 | 21.01% | 22.18%
Interior Finishes | 16.7271 | 15.63 | 14.1134 | 12 | 11.2 | 13.4297 | 14 | 10.8768 | 19716320.976 | 13.04 | 10.31% | 0.38967 | 13.4297 | 11.76% | 9.341%
Equipment & Specialties | 1.7089 | 1.8465 | 2.4227 | 1.35 | 1.25 | 1.5139 | 2 | 1.133 | 2053783.435 | 1.47 | 1.162% | 0.043928 | 1.5139 | 1.681% | 0.973%
Vertical Transportation | 8.059 | 8.0868 | 8.2492 | 7 | 6.52 | 7.9919 | 8 | 6.798 | 12322700.61 | 7.76 | 6.135% | 0.23189 | 7.9919 | 6.723% | 5.838%
Plumbing | 4.1767 | 2.5494 | 2.3032 | 2.5 | 3.208 | 4.7787 | 3 | 3.4505 | 6254704.0975 | 4.64 | 3.669% | 0.13866 | 4.7787 | 2.521% | 2.963%
Fire Protection | 3.827 | 1.5 | 1.3033 | 1.98 | 1.4407 | 2.5026 | 2 | 2.3896 | 4331615.972 | 2.43 | 1.921% | 0.072615 | 2.5026 | 1.681% | 2.052%
HVAC | 12.1729 | 13.1258 | 11.0118 | 10 | 9.75 | 9.9899 | 11 | 8.3121 | 15067302.1095 | 9.7 | 7.669% | 0.28986 | 9.9899 | 9.244% | 7.138%
Electrical | 12.0658 | 10.904 | 8.649 | 10.5 | 10.2 | 12.7749 | 11 | 8.9919 | 16299572.1705 | 12.88 | 10.18% | 0.38489 | 13.2649 | 9.244% | 7.722%
TOTAL DIRECT COSTS | 131.3355 | 121.7179 | 115.7145 | 109.9 | 117.351 | 129.7696 | 119 | 116.4621 | 211081823.3595 | 126.48
GENERAL REQUIREMENTS | [9 empty] | 3233693
BOND, INS. & LIC. | [9 empty] | 3.7796
CONTINGENCY
GENERAL CONDITIONS, FEE | 13.0328 | 7.7804 | 12.81 | 11.73 | 12 | 12.5 | 12 | 10.21 | 18524198.95 | 10698236
12.5042
CONSTRUCTION TOTAL | 144 | 129 | 129 | 122 | 129 | 142.2696 | 133 | 126.6721 | 229606022.3095
0.3095

## Graph
| 170000 | 169000 | 1163241 | 252000 | 84000 |  | 145000
| Intel | Deloitte |  | Statoil | BP Westlake | Average | Parsley Energy |  | Cost per floor
Demolition | 4 | 7 | 0% | 8 | 9 | 5.6 | 0 | 0 | 0
Cast in Place Concrete | 5 | 6 | 0% | 4 | 7 | 4.4 | 5 | 725000 | 90625
Misc. Metals | 4 | 8 | 0% | 9 | 1 | 4.4 | 4 | 580000 | 72500
Millwork | 15.1714 | 8.2496 | 0% | 2.0455 | 16.8571 | 8.4647 | 2 | 290000 | 36250
Glass | 0.80357 | 2.1006 | 0% | 3.1782 | 0.89286 | 1.3951 | 2 | 290000 | 36250
DFH | 2.5 | 1.76 | 0% | 1.6111 | 0.89286 | 1.3528 | 1.5 | 217500 | 27187.5
Drywall & Ceilings | 7.6463 | 19.7 | 0% | 11.9048 | 8.4959 | 9.5494 | 18 | 2610000 | 326250 | 16.3125
Tile | 4 | 1 | 0% | 2 | 3 | 2 | 4 | 580000 | 72500
Painting | 2.1107 | 4.6982 | 0% | 2.8571 | 2.3452 | 2.4023 | 5 | 725000 | 90625
Flooring | 4.7679 | 7 | 0% | 3.8313 | 5.2976 | 4.1794 | 5 | 725000 | 90625
Polished Concrete | 1 | 1 | 0% | 1 | 1 | 0.8 | 2 | 290000 | 36250
Demountables | 8.6679 | 7.064 | 0% | 6.0671 | 9.631 | 6.286 | 10.4172 | 1510500 |  |  | 0.9
Specialties | 5.0571 | 6.25 | 0% | 8.25 | 5.619 | 5.0352 | 10 | 1450000 | 181250
Window Treatments | 4 | 5 | 0% | 1 | 8 | 3.6 | 2 | 290000 | 36250
Fire Protection | 1.5536 | 2.7545 | 0% | 1.8847 | 1.7262 | 1.5838 | 3.5 | 507500 | 63437.5 |  | 130/directs
Plumbing | 7.259 | 6.7429 | 0% | 1.3968 | 8.0655 | 4.6928 | 3.8 | 551000 | 68875
HVAC | 21.4286 | 19.9469 | 0% | 13.5699 | 23.8095 | 15.751 | 26 | 3770000 | 471250 |  | $15/sf indirects
Electrical | 24.6429 | 47.3373 | 0% | 28.5714 | 27.381 | 25.5865 | 32.5 | 4712500 | 589062.5
Fire Alarm | 2.5 | 2.4 |  | 3 | 3.5 | 4 | 4 | 580000 | 72500
Data Cabling | 2.5 | 2.4 |  | 3 | 3.5 | 4 | 4 | 580000 | 72500
Audio Visual | 2.5 | 2.4 |  | 3 | 3.5 | 4 | 4 | 580000 | 72500
Security | 2.5 | 2.4 |  | 3 | 3.5 | 4 | 4 | 580000 | 72500
[7 empty] | 127.7172 | 18519000